## Slide 1: How Can China Reform Its Power Sector and Improve Air and Water Quality?
Wilson Center
Washington, DC
Presented by Christopher James, Principal
June 12, 2017

## Slide 2: Generator Capacity Utilization Has Decreased Over 30% Since 2004
.
Chart: 2001-2016 Generators' operational hours
| 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016
thermal operational hours | 4900 | 5272 | 5767 | 5991 | 5865 | 5612 | 5344 | 4885 | 4865 | 5031 | 5305 | 4982 | 5021 | 4739 | 4364 | 4165
hydro operational hours | 3129 | 3289 | 3239 | 3462 | 3664 | 3393 | 3520 | 3589 | 3328 | 3404 | 3019 | 3591 | 3359 | 3669 | 3590 | 3621
average operational hours | 4588 | 4860 | 5245 | 5455 | 5425 | 5198 | 5020 | 4648 | 4546 | 4650 | 4730 | 4579 | 4521 | 4318 | 3988 | 3785
Notes: Source: China Electricity Council

## Slide 3: Wind Curtailment Has Slightly Improved in 2017, But Is Still High (Ditto for Solar)
Wind Curtailment Jan- March 2017 |  |  | 
Area | Cumulative Curtailed Wind Energy (GWh) | Cumulative Wind Curtailment Rate (%) | Cumulative Operation hours
North Hebei | 800 | 10% | 583
Inner Mongolia | 3100 | 21% | 475
Liaoning | 600 | 15% | 477
Jilin | 1100 | 44% | 278
Heilongjiang | 1000 | 36% | 307
Gansu | 2200 | 36% | 305
Xinjiang | 2900 | 34% | 317

## Slide 4: Air Pollution Has Improved, But Hazardous Episodes Continue to Occur, Especially in Fall and Winter Months
Notes: Source: wikipedia.org

## Slide 5: China’s Water Quality Is Poor in Many Regions
Notes: Source: http://blogs.agu.org/waterunderground/2017/03/16/deep-challenges-chinas-war-water-pollution-must-tackle-deep-groundwater-pollution-pathways/

## Slide 6: 13th Five Year Plan: Improve Air and Water Quality and Restructure Energy Use
Continue cuts in SO2, NOX. Reduce VOC
Reach acceptable air quality 80% of days by 2020
Reduce water consumption 23% from 2015 levels by 2020
Reduce energy consumption 15% from 2015 levels by 2020
Cap coal consumption at 5 billion tonnes (tce)
Establish market-based electricity pilots for large consumers
Notes: China has solid energy and environmental policy, regulations and law. NDRC Document 9, revised Air Law

## Slide 7: Risks to Achieving Air and Water Quality Goals
Coal cap is a 16% increase from current consumption levels
Market-based electricity pilots could increase use of inefficient thermal plants
Air quality plans have not yet incorporated clean energy elements

## Slide 8: Recommendations
Require environmental portfolio standard as criteria to be eligible to participate in market-based electricity pilots
Reform electricity dispatch to economic based, then to priority for clean energy resources
Establish large energy balancing areas (larger than a single province)
Model environmental benefits of clean energy programs, then integrate into air and water plans

## Slide 9: Mechanisms
Renew and strengthen State Council “Ten Measures”
Consistently implement and enforce the Air Law
GHG trading system offers co-control benefits
Permit system: require subject facilities to complete energy audits, and implement all cost-effective energy efficiency measures

## Slide 10: For More Information
RAP China landing page: http://www.raponline.org/where-we-work/china/
May 2017 blog on power sector reform: http://www.raponline.org/blog/chinas-power-sector-reform-progress-clean-energy/
Improve air quality, reduce curtailment of renewable energy: http://www.raponline.org/blog/reducing-renewables-curtailment-china-air-quality-measure/
Regional air quality planning: energy and air quality integration: http://www.raponline.org/knowledge-center/regional-air-quality-planning-energy-and-air-quality-integration/

## Slide 11
Christopher James, cjames@raponline.org
+1 617 861 7684
Skype: climatekaos